## determination codes
DeterminationCode | Description | included/changed | NOTE
AA | Atomic absorption spectrometry | 2001-01-16 10:31
AAA | Atomic absorption spectrometry, thermal burn | 2015-08-17 15:22
AAB | Atomic absorption spectrometry, combustion, amalgamation | 2015-08-17 15:23
AAC | Atomic absorption spectrometry, cold vapour | 2001-01-17 12:08
AAD | Atomic absorption spectrometry, cold vapour, amalgamation | 2001-01-17 12:02
AAF | Atomic absorption spectrometry, flame | 2001-01-16 10:40:44.083
AAG | Atomic absorption spectrometry, graphite furnace | 2001-01-16 10:44
AAH | Atomic absorption spectrometry, hydride | 2001-01-17 12:11
AAI | Atomic absorption spectrometry, hydride, amalgamation | 2001-01-17 12:05
AE | Atomic emission spectrometry | 2001-01-16 10:53
AF | Atomic fluorescence | 2000-06-16 15:45:00.000
AFC | Atomic fluorescence, cold vapour | 2001-01-17 12:13
AFD | Atomic fluorescence, cold vapour, amalgamation | 2001-01-17 12:14
AHE | Ammoniumhydroxide exposure | 2013-02-07 15:00
ASV | Anodic Stripping Voltammetry | 2010-12-01 13:05
CM | Comparative | 2000-06-16 15:45:00.000
CN | Conductometric (salinometer) | 2020-02-17 08:04
CNA | Conductometric, at 25 °C | 2000-06-16 15:45:00.000
CNB | Conductometric, at 20 °C | 2000-06-20 16:56:00.000
CNF | Conductometric, at 25 ºC, in field | 2000-06-16 15:45:00.000
CO | Coulometric detection | 2008-06-12 15:47
COA | Coagulase test | 2013-02-08 13:07
COB | Coulometric detection, combustion | 2008-06-12 15:48
CRD | Cavity Ring-Down Spectroscopy | 2018-01-09 15:41
CTL | Catalase test | 2013-02-07 14:59
EL | Electrometric or ion selective determination | 2000-06-16 15:45:00.000
ELF | Electrometric or ion selective determination, in field | 2000-06-16 15:45:00.000
ELS | vasta-ainetesti (ELISA) | 2014-12-12 14:17
FI | Flame ionization | 2000-06-16 15:45:00.000
FL | Fluorescence determination | 2000-06-16 15:45:00.000
FLH | Fluorescence determination, 310/400 nm | 2001-01-16 11:08
FLL | Fluorescence determination, 230/340 nm | 2001-01-16 11:10
FLZ | Fluoresense determination, in field | 2015-12-16 12:39
GC | Gas chromatography | 2001-01-16 11:41
GCA | Gas chromatography, atomic emission spectrometry | 2001-01-16 11:44
GCC | Gas chromatography, CVAFS | 2010-02-10 13:47:35.060
GCE | Gas chromatography, electron capture | 2001-01-16 11:47
GCF | Gas chromatography, flame ionization | 2001-01-16 12:42
GCH | Gas chromatography, hall-electrolytic | 2001-01-16 12:45
GCI | Gas chromatography, infrared spectrometry | 2001-01-16 12:47:21.037
GCM | Gas chromatography, mass spectrometry | 2001-01-16 12:50
GCN | Gas chromatography, nitrogen phosphorous | 2001-01-16 12:52
GCP | Gas chromatography, flame photometric | 2001-01-16 12:54
GCT | Gas chromatography, thermal conductivity detector | 2003-11-07 10:19:29.007
GV | Gravimetric | 2000-06-16 15:45:00.000
GVF | Gravimetric, heated in 105/550ºC | 2001-01-29 15:25
GVR | Gravimetric, heated in 180 ºC | 2000-06-20 17:08:00.000
GVS | Gravimetric, heated in 105 ºC | 2000-08-22 09:51:00.000
GVT | Gravimetric, heated in 105°C/800-815°C | 2002-01-30 10:45:08.037
GVV | Gravimetric, difference between GVS and GVF | 2000-08-22 09:52:00.000
GVW | Gravimetric, difference between GVS and GVT | 2002-01-30 10:47
IC | Ion chromatography | 2001-01-16 12:57
ICS | Ion chromatography, spectrometry | 2020-07-02 10:32
IR | Infrared spectrometry | 2001-01-16 12:59
LC | Liquid chromatography | 2001-01-16 13:01:43.050
LCC | Liquid chromatography, conductometric | 2001-01-16 13:04
LCF | Liquid chromatography, fluorescence | 2001-01-16 13:09
LCI | Liquid chromatography, flame ionization | 2001-01-16 13:11:40.067
LCM | Liquid chromatography, mass spectrometry | 2004-11-01 16:27
LCR | Liquid chromatography, refraction index | 2001-01-16 13:16
LCU | Liquid chromatography, ultraviolet spectrophotometry | 2001-01-16 13:19
LCV | Liquid chromatography, visible spectrophotometry | 2001-01-16 13:21
LU | Luminescent bacteria-test | 2015-08-20 13:23:31.013
LUB | Bioluminescence | 2001-01-17 12:17:01.023
LUC | Chemiluminescence | 2001-01-17 12:18
LUF | Luminescent bacteria-test (Flash) | 2015-08-20 13:25
MCT | Micro coulometric titration | 2015-02-26 16:06
MK | Microscopy | 2017-04-26 12:37
MOC | Microscopy, oxidase and catalase | 2015-02-26 15:10
OX | Oxidase | 2000-08-14 13:39:00.000
PCR | Polymerase chain reaction | 2013-03-19 08:40
PL | Inductively coupled plasma | 2000-06-16 15:45:00.000
PLE | Inductively coupled plasma, atomic emissionspectrometry | 2000-06-16 15:45:00.000
PLG | Gas chromatography, inductively coupled plasma-MS | 2011-06-07 14:16
PLH | Inductively coupled plasma, hydride | 2003-11-25 15:33
PLM | Inductively coupled plasma, mass spectrometry | 2000-06-16 15:45:00.000
PLO | Inductively coupled plasma, optical emission spectrometry | 2001-10-02 11:05
RA | Radio active | 2005-04-14 12:49
RAA | Radio active, scintillation counting | 2005-04-14 12:50
RAB | Radio active, alfa spectrometric measurement | 2009-12-02 10:43
RAG | Radio active, gammaspectrometry | 2018-03-28 14:45
RAL | Radio active, Liquid scintillation spectrometry | 2018-03-28 14:42
RAN | Radio active, neutron activation | 2010-03-05 13:15
RE | Respirometric | 2000-06-16 15:45:00.000
SC | Supercritical fluid chromatography | 2001-01-16 13:29:40.097
SCF | Supercritical fluid chromatography, flame ionization | 2001-01-16 13:32
SCM | Supercritical fluid choromatography, mass spectrometry | 2001-01-16 14:11
SP | Spectrophotometry, flow injection analysis, colourimetric | 2001-01-16 14:42
SPA | Ammonium as nitgen by FIA, SFA or CFA | 2014-01-14 13:28
SPF | Spectrophotometry in field | 2005-03-14 12:28
SPT | Spectrophotometry, flow injection analysis, colourimetric, t | 2001-01-16 14:45
TCD | Thermal conductivity, combustion | 2020-07-07 14:24
TH | Thermotolerance | 2000-06-16 15:45:00.000
THE | Thermotolerance 44 °C and aesculin | 2000-08-22 09:56:00.000
THG | Thermotolerance 44°C and gas production | 2002-12-20 09:01
THI | Thermotolerance 44 °C and indole | 2000-08-14 13:39:00.000
THK | Thermotolerance 44°C, aesculin, catalase | 2002-12-20 09:03
TI | Titrimetric, potentiometric | 2000-06-16 15:45:00.000
TIA | Titrimetric, pH, detection end point pH 4.2 | 2000-06-16 15:45:00.000
TIB | Titrimetric, pH, detection end point pH 4.5, 4.2 | 2000-06-16 15:45:00.000
TIC | Titrimetric, pH, detection end point pH 4.5 | 2000-06-16 15:45:00.000
TID | Titrimetric, pH, detection end point pH 4.7 | 2000-06-16 15:45:00.000
TIE | Titrimetric, pH, detection end point pH 5.4 | 2000-06-16 15:45:00.000
TIF | Titrimetric, pH, detection end point pH 5.6 | 2000-06-16 15:45:00.000
TIG | Titrimetric, pH, detection end point pH 8.3 | 2000-06-16 15:45:00.000
TIH | Titrimetric, Gran plot | 2000-06-16 15:45:00.000
TII | Titrimetric, pH, detection end point pH 5.0 | 2001-09-19 11:10
TIJ | Titrimetric in field | 2005-03-14 12:40
TU | Turbidimetric | 2000-06-16 15:45:00.000
TUA | Nefelometric (FTU or FNU) | 2015-12-14 09:49
TUZ | Nefelometric (FTU or FNU), in field | 2015-12-16 13:17
VO | Volumetric detection | 2008-06-12 15:45
XR | X-ray | 2000-06-16 15:45:00.000
UVA | UV absorption | 2021-06-17 | added for IM programme
UVF | UV fluorescence | 2021-06-17 | added for IM programme